June 15, 2017

David Soule, P.E.

Inspections Plus Inc.

4382 Alexander Blvd NE

Albuquerque, NM 87107

Re:	Mirehaven Arroyo Improvements

Erosion and Sediment Control Plan

Engineer’s Stamp Date 6-12-17 (H09E022A)

Dear Mr. Soule,

Based upon the information provided in your submittal received 6-12-17, the above referenced plan is for construction in an AMAFCA easement.  Since AMAFCA is an MS4 co-permittee, AMAFCA would be the appropriate agency to review/approve this plan.

The city offers one informational comment:

1.  Add a note to not stockpile dirt in the low-flow area of the channel.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.