April 22, 2016

Ron Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Pl NE

Albuquerque, NM 87109

**Re: Unser and Ladera 10K Building**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 4-5-16 (H09E025)**

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 4-12-16 the above referenced plan is approved to be included in the SWPPP and for ESC Permit- Building Permit.

During construction, the effectiveness of the sediment BMP across the east drive entrance should be evaluated to determine if inlet protection is required in the drive aisle approximately 500 feet east of this location.

Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email