April 2, 2014

Richard J. Berry, Mayor

David Soule, PE

Rio Grande Engineering

PO Box 93924

Albuquerque, New Mexico  87199

RE:	Albuquerque Boat and RB Storage  -  Lots 28 &25	     File:  H10-D006B

Ladera Business Park

Grading  & Drainage Plan					   PE Stamp: 3-14-2014

Dear Mr. Soule:

Based upon the information provided in your submittal received 3-17-14, the above referenced plan cannot be approved for Site Plan for Building Permit by the DRB until the following comments are addressed:

- Show proposed contours.

- Show private drainage easements, both existing and proposed.  Show that the drainage remains within the extents of the drainage easement.

- How is LOT 20 draining into Lot 25 & 28? Show on plan.

- How does North side of Lot 28 drain? Quantify Basin draining to Vista Oriente St.  Show curb cut.

- Show cross section of channel along North edge of Lot 25

- Curb needed along E side of Lot 28.

- Show overflow path from pond to sidewalk culvert

Since the disturbed area on this site exceeds 1.0 acre, an Erosion and Sediment Control (ESC) Plan, prepared by a NM PE and approved by the City’s Stormwater Engineer, will be required for this site, prior to Hydrology approval of a Building Permit or Work Order.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Rita Harmon, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

Orig:	Drainage file:  H10/D006B9

c.pdf	Addressee via Email  david@riograndeengineering.com