July 28, 2026

Richard J. Berry, Mayor

David Soule, PE

Rio Grande Engineering

PO Box 93924

Albuquerque, New Mexico  87199

RE:	Albuquerque Boat and RB Storage  -  Lots 28 &25

Ladera Business Park

Grading  & Drainage Plan

Engineer’s Stamp Date 4-8-2014 (File: H10D006B)

Dear Mr. Soule:

Based upon the information provided in your submittal received 4-10-14, the above referenced plan is approved for Site Plan for Building Permit action by the DRB.  The following comments have to be addressed prior to an approval for Building Permit:

- Show cross-lot private drainage easements.

- Clarify the apparent wall along La Morada Place.

Since the disturbed area on this site exceeds 1.0 acre, an Erosion and Sediment Control (ESC) Plan, prepared by a NM PE and approved by the City’s Stormwater Engineer, will be required for this site, prior to Hydrology approval of a Building Permit or Work Order.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Rita Harmon, P.E.

Senior Engineer, Planning Dept.

Development Review Services

Orig:	Drainage file

c.pdf	Addressee via Email