## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | H10E006A6 |  | Project Name:
NPDES Id. No. |  |  | Location: |  | 7411 La Morada Pl. NW
2021-12-22 |  | Owner |  |  |  | Contractor
Operator |  | United Concrete Co.
Contact name & title |  | Isaac Rosas
e-mail |  | joseisaac1983@gmail.com
Contact Phone # |  | (505)290-1339
COA Inspector |  | James Hughes |  |  |  | Start/End Time: |  | 11:30 AM - noon |  |  |  |  | Rain
Construction Phase: |  | Building construction | [10 empty] | Clear/ Windy
Type of Inspection: |  | Follow-up |  | Storm Event | Past Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  |  | Windy
Clear
Weather at time of inspection? |  |  |  | clear |  | Temperature: ~ |  |  | 42 |  |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [5 empty] | 2021-10-01 |  |  |  |  | 2021-02-22 |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [12 empty] | Fog
Item Number | Deficiency/ Corrective Action | [9 empty] | 2021-04-28 | 2021-05-03
1 | All areas of Concern have been mitgated. Permit coverage is posted, ESC Plan approved for Grading, Sediment removed from street, and BMPs are inplace and in good condition.
2
3
4
5
6 | [10 empty] | Yes
2.1 | Discharge off site? (Y/N) |  |  | Yes | [6 empty] | No
4 | SW{PPP |  |  | missing | Latest report Date: |  | N/A
Notes: | The site was inactive.
Most of site was stabilized with AC millings.
Edges and neighbors property still disturbed on 3 sides.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | James Hughes (505) 924-3942
Jhughes@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action