August 15, 2012

Scott M. McGee, P.E.

9700 Tanoan Dr NE

Albuquerque, NM 87111

Re:	Atrisco Apartments, 1720 Atrisco Drive NW,

Grading and Drainage Plan

Engineer’s Stamp Date 6/28/2012 (H11/D068)

Dear Mr. McGee,

Based upon the information provided in your submittal received 07-11-2012, the above referenced plan can not be approved for Building Permit and SO-19 Permit until the following comments have been addressed:

- Show the amount runoff draining to the northerly pond.

- Provide pond volume calculations for all the ponds.

- Clearly show the high point on site.  Some of the flow arrows directions may have to be changed.

- Depressed all landscaping areas where possible.

- Provide sidewalk culvert capacity calculations.

- Is the curb and gutter along Atrisco Dr. exiting? Please show the full extends of the curb and gutter.

- Extend the easterly sidewalk culvert to the face of the curb.

- Call out the City of Albuquerque Standard Drawing number for the sidewalk culvert.  Also include a note that the bolts be tack welded at the plates.

- Encroachment Agreement with City of Albuquerque will be required for the westerly parking area outside of the property line.  Please contact Jane Rael at 924-3992 in regards to the Encroachment Agreement.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail