## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | H11E075 |  | Project Name: |  | Playa del Sur
NPDES Id. No. | NMR1006DO |  | Location: |  | 5720 Miami Rd NW
2025-01-21 |  | Owner |  |  |  | Contractor
Operator |  | Butterfly Holdings, LLC
Contact name & title |  | Jarrod Likar
e-mail |  | jarrodl@aswinc.com
Contact Phone # |  | 505-596-9037
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 1pm |  |  |  | Rain
Construction Phase: |  | Grading | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 30 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2024-11-07 |  |  |  | Sleet
Item Number | Deficiency/ Corrective Action
1 | SWPPP - The SWPPP map does not reflect the current conditions of BMPs, materials storage, and sediment basins in violation of CGP Part 7.4.1. The self-inspection reports are not current in violation of CGP Part 4.7.3. Required mitigation: You must modify your SWPPP, including the site map(s), within seven days whenever you make changes to your construction plans, stormwater controls, or other activities at your site that are no longer accurately reflected in your SWPPP per CGP Part 7.4.1.a. You must keep a copy of all inspection reports at the site or at an easily accessible location, so that it can be made immediately available at the time of an on-site inspection per CGP Part 4.7.3.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Yes | Latest report Date: |  | 2024-12-04
Notes:
The construction exit is full of sediment and needs maintenance/clean-out.
Please send the most current self-inspection report.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action