May 23, 2012

Åsa Nilsson-Weber

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, NM 87108

Re: 	Los Duranes Community Center Grading and Drainage Plan

Engineer’s Stamp date 05-14-12 (H-12/D001)

Dear Ms. Weber,

Based upon the information provided in your submittal received 05-16-12, the above referenced plan is approved for Building Permit.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit (http://www.cabq.gov/planning/landcoord/Hydrology.html).

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail