March 30, 2012

Åsa Nilsson-Weber

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, NM 87108

Re: Los Duranes Community Center Grading and Drainage Plan

Engineer’s Stamp date 03-21-12 (H-12/D001)

Dear Ms. Weber,

Based upon the information provided in your submittal received 03-21-12, the above referenced plan cannot be approved for Building Permit until the following comments are addressed:

- Provide pond calculations and labels to demonstrate how the increased runoff from the new development will be limited to historic discharge (9.8 cfs).

- The “Developed Flows” portion of the drainage report should include the treatment areas for both B and C treatment types. These values should not be zero.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	file

CJH/SB