Address:	1097 Mis Abuelitos

Owner:		Ann Kuck

Phone No.:	292-4024

City Project No.: 	617584

City Drainage No.:	H13-D25A

Design Engineer For The Subdivision:	BHI

Issue:	Storm Runoff Ponds in front of the house and into the landscaping area.  Standing water is killing the plants.

Shahab Biazar and Tim Sims met with the owner at 9:30 AM on to go over the concerns.  The owner mentioned that the water is standing in front of the house and it does not go anywhere.  The standing water is killing the plans.  The owner also talked to about her previous issues with runoff entering at the back of her house and it was fixed.  The owner was told that she will be contacted later next week after we the City of Albuquerque look into the problem.

The BHI was contacted (Mathew Santistevan) to meet on site and go over the problem.  Shahab Biazar received a call from Kevin G. Patton regarding on going complains from the owner and that the site was setup for water harvesting.

Shahab Biazar and Tim Sims met with the on site (on 10-4-2011 10:30 AM) with BHI (Mathew Santistevan, Kevin G. Patton, and Yolanda Padilla).  The owner was present as well.  Mr. Patton explained to her that the Drainage Master Plan requires water harvesting and the water is supposed to get into the landscaping area.  And that she may want to consider using a different type of plant.  There is only about 0.10’ water standing by the landscaping area and the driveway.  There is adverse impact to the garden wall or any of the private improvements within the property.  The owner was told that there is nothing can be done since the water harvesting was part of the developers request and part of approved master drainage plan.  The owner was told that she can also remove the plastic under the gravel to allow water seepage into the ground.