June 5, 2014

Yvette Tovar

New Mexico Water Collaborative

1751 Bellamah NW #1101

Albuquerque, NM 87104

**Re: Sawmill Pond Modification-Sawmill Village Wastewater Reuse**

Dear Ms. Tovar,

 Based upon the information provided in your submittal received 5-9-14 and the easement, it is acceptable to build the wastewater reuse project in the Sawmill pond, install plant material in the pond and put treated (tertiary) waste water into the pond up to 2000 gallons/day for irrigation.

 If for some reason water is accumulating in the pond due to irrigation; at the point the volume reaches 0.5 acre-feet, a modification to the system may be required.

If you have any questions, you can contact me at 924-3986.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Hydrology

 Planning Dept.

 C: e-mail