May 15th, 2014

Yvette Tovar, P.E.

New Mexico Water Collaborative

1751 Bellamah NW #1101

Albuquerque, NM 87104

**Re: Sawmill Pond Modification-Sawmill Village Wastewater Reuse**

Dear Ms. Tovar,

 Based upon the information provided in your submittal received 5-9-14 and the easement, it is acceptable to build the wastewater reuse project in the Sawmill pond.

 Hydrology understands that 2000 gallons/day will be pumped to the pond for irrigation.

 If for some reason water is accumulating in the pond due to irrigation; at the point the volume reaches 0.5 acre-feet, a modification to the system may be required.

If you have any questions, you can contact me at 924-3986.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Hydrology

 Planning Dept.

 C: e-mail