November 18, 2013

Gilbert Aldaz

## Applied Engineering and Surveying Inc.

## 1605 Blair Drive NE

## Albuquerque, NM 87112

Re:	Hacienda Don Villegas, Grading And Drainage Plan

Engineer’s Stamp Date 10/28/2013 (H13/D053)

Dear Mr. Aldaz,

Based upon the information provided in your submittal received 10-28-13, the grading and Drainage Plan is approved for Preliminary Plat.  An Erosion Sediment Control (ESC) Plan will be required prior to grading permit approval.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Prior to Building Permit approval, Engineer Certification will be required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Principal Engineer, Planning Dept.

Development Review Services

C:	e-mail