Drainage Comments 11/2/2012 (H14/D002)

- Downspout locations

- Roof flow directions

- Depress landscaping area along Broadway (within the property/not within the ROW)

- Provide grades at the middle of the parking lot

- Additional spot elevations close to the entrances of the buildings

- Check the FL and TC at the westerly entrance.

- Plot 1”=10’

- Include the street names