January 03, 2012

David Aube, P.E.

Hartman & Majewski Design Group

120 Vassar Dr SE, Suite 100

Albuquerque, NM 87102

Re:	Plaza Ciudana Conceptual Grading and Drainage Plan, Engineer’s Stamp 	Dated 12-05-2011 (H14/D002)

Dear Mr. Aube,

Based upon the information provided in your submittal received 12-12-11, the above referenced report is approved for Site Plan for Subdivision.  The following comments have to be addressed prior to an approval for Building Permits:

- Show existing topography on sheet CD2.

- Include a Vicinity Map and a City of Albuquerque BM on the plan.

- Add Legends.

- Is the site within a 100-yr floodplain?

- Provide pond calculations for the proposed ponds and show the 100-Year WSEL on the plan.

- Use sidewalk culverts and depressed landscaping areas to avoid draining the runoff over the sidewalks.

- Show additional proposed elevations through out the site.

- Show all the sidewalk culvert locations and sized on the plan.  Provide calculations.

- Provide a detail and calculation for the proposed channel to the east.

- Submit a copy of the proposed plat.  A cross lot drainage easement will be required.

- Proposed construction on Broadway and Indian School will have to be permitted through a City Work Order.  Therefore, plans have to be submitted to Design Review/Construction (DRC) for approval.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	File