## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
Project Name: |  | 3308 4th St
Location: |  | same
Site Contact Name & Agency |  | jose rodriguez |  |  |  | ESC File No. | H14E109
|  | J and S Development |  |  |  | NPDES Id. No.
Inspection Date: |  | 2019-07-08 | Start/End Time: |  | 11:00/11:30
CoA Stormwater Inspector: |  |  | Curtis Cherne | [8 empty] | Rain
Construction Phase: |  | curb and gutter, installing utilities | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event |  | Post Storm Event >0.25" |  | 311/Complaint | X | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  |  | Temperature: ~ |  | 85 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [6 empty] | 2019-07-27 |  |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | no issues observed
Yes
| Discharge off site? (Y/N) |  |  | No | [6 empty] | No
| Self Inspection Reports |  |  |  |  | Latest report Date:
Notes:
cleaned debris from Alameda drain bank
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Curtis Cherne PE, 505-924-3420
|  | ccherne@cabq.gov |  |  |  |  | 2019-07-08

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action