July 3, 2012

Levi J. Valdez, P.E.

George T. Rodriguez-Consulting

12800 San Juan NE

Albuquerque, NM 87123

Re:	Crown Plaza, 3500 Menaul Blvd.

Grading and Drainage Plan

Engineer’s Stamp dated 7-03-13 (H16/D146 )

Dear Mr. Valdez ,

Based upon the information provided in your submittal dated 7-03-13, the above referenced plan is approved for building permit.

A separate SO-19 permits is required for construction of the sidewalk culverts.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.  The work in the City ROW must be inspected and accepted.  Contractor must contact Jason Rodriquez at 235-8016 and Construction Coordination at 924-3416 to schedule an inspection and approval prior to Final Certification of Occupancy.

Topsoil Disturbance Permit will be required if ¾ of an acre or more is being disturbed.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development Review Services

C:	e-mail