July 5, 2013

David A. Guetig, P.E.

Galloway

5300 DTC Parkway, Suite 100

Greenwood Village, CO 80111

bryanreid@gallowayus.com

Re:	Murphy Express, Carlisle and Phoenix

Erosion Sediment Control (ESC) Plan

Engineer’s Stamp Date 5-31-13 (H16/E008A3)

Dear Mr. Guetig,

Based upon the information provided in your submittal received 6-3-13, the above referenced plan cannot be approved until the following comment is addressed:

- Please include the north arrow and scale on the plan.

- The silt fence may have to be extended some to the east along the construction fence line at the northeast corner of the project.

- An approved grading and drainage plan will be required prior to an approval of ESC plan.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development Review Services

C:	e-mail