September 3, 2013

Richard J. Berry, Mayor

Mike Walla, P.E.

Walla Engineering

6501 Americas Parkway NE, Suite 301

Albuquerque, New Mexico  87110

Dear Mr. Walla:

RE:	Stone Age Climbing Gym, 4130 Cutler Ave.  NE			File  H17-D086

Grading and Drainage Plan for Building Permit		 PE Stamp: 7/18/13

Dear Mr. Walla,

Based upon the information provided in your submittal received July 18, 2013, the above referenced Grading and Drainage Plan is approved for Building Permit.

Per discussion this date with Larry Kennedy of your firm, Planning Hydrology encourages water harvesting, through the depression of landscape areas and routing of high runoff flows through such landscape areas.  This may become a requirement with pending Drainage Ordinance revisions.  This plan does not provide any depressed harvesting areas.  Since the off-site parking area will have a gravel surface, we will not require additional water harvesting on this plan.  However, if your client decides in the future, to pave that lot, harvesting will be required.  If you choose to amend this plan to provide harvesting prior to Building C.O., please coordinate with our office.

Please attach a copy of this approved plan to the Building Permit, construction sets prior to requesting sign-off by Hydrology.

Prior to Certificate of Occupancy release, an Engineer’s Certification of the As-Built grading and drainage at the site, will be required, per the DPM checklist (Chapter 22).

If you have questions, please contact me by email at  grolson@cabq.gov,  or telephone     505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  H17-D086

c.pdf	Addressee via Email: MikeW@WallaEngineerng.com

Larry Kennedy email:  LarryK@WallaEngineerng.com