December 28, 2011

Ronald Ray Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Place NE

Albuquerque, NM 87109

Re:	Caliber’s, Washington and Cutler. Grading and Drainage Plan

Engineer’s Stamp dated 11-30-11 (H17/D089)

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 12/1/11, the above referenced plan is approved for Building Permit.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Since one acre or more is being disturbed this project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge and a Topsoil Disturbance Permit.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis A. Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

# C:	file