December 21, 2012

Jonathan Niski, P.E.

Tierra West, LLC

5571 Midway Park Pl. NE

Albuquerque, NM 87109

Re:	Caliber’s Shooting Range, 4340 Cutler Ave. NE

Engineer’s Stamp dated 12-18-2012 (H-17/D089A)

Dear Mr. Niski,

Based upon the information provided in your submittal received 12-19-12, the above referenced plan cannot be approved for Building Permit until the following comments are addressed:

- The proposed grading and placement of cobbles along the western property line encroaches upon the adjacent lot. A written agreement from this lot’s owner will be needed before this work can be approved.

- The southern swale in Basin 4 appears to be directed in a concentrated flow towards the neighboring property line; will a cobble swale be required at this location as well?

- Please provide a note or a detail for the proposed 10’ cobble swales.

- A portion of Basin 4 that was originally included in it’s calculations along the west entrance to the northernmost building appears to now outfall into Basin 1 and should not be included in Basin 4’s flows.

- Section A-A and B-B might need to be changed based on the response of the adjacent lot’s property owner.

If you have any questions, you may contact me by telephone at 505-924-3994, or email at grolson@cabq.gov.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  H-17/D089A

c.pdf	Addressee via Email  jniski@tierrawestllc.com