September 03, 2013

Ronald R. Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Pl. NE

Albuquerque, NM 87109

Re:	Caliber’s Shooting Range, 4340 Cutler Ave. NE

Request For Permanent C.O.

Engineer’s Stamp Dated: 02-05-13 (H17/D089A)

Certification dated: 08-30-13

Dear Mr. Bohannan,

Based on the Certification received 08/30/2013, the site is acceptable for a release of a Permanent Certificate of Occupancy by Hydrology based on the following condition:

_ 	Add large cobbles, from the discharge point of the two most northerly roof

drainage pipes to the bottom of the slope, on the west side of the building.

Hydrology is asking for an electronic copy, in PDF format, of this certification for our records. This PDF file can be e-mailed to me at:  sbiazar@cabq.gov

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development Review Services

C:	CO Clerk—Katrina Sigala

E-mail