July 14, 2015

Brigitte M. Fuller, P.E.

Wilson and Company, Inc.

4900 Lang Ave NE

Albuquerque, NM 87109

**Re: The Cheesecake Factory- Coronado Center**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 6-26-15 (H18E005D)**

Dear Ms. Fuller,

Based upon the information provided in your submittal received 7-2-15, the above referenced plan is approved to be included in the SWPPP and for Grading Permit/Building Permit once Hydrology has approved the grading plan with the following note.

It is difficult to achieve a good seal with silt fence on an impervious area (asphalt or concrete). A waddle can be used at the base of the silt fence to prevent sediment from leaving the site.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email