May 6, 2015

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: Main Bank**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 5-6-15 (H19E055A)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 5-6-15 the above referenced plan is approved to be included in the SWPPP and for Grading Permit/Building Permit with the condition that the silt fence/project boundary is adjusted to be at the back of sidewalk along Menaul Blvd along the entire northern edge (doesn’t jog) except the construction entrance.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: Jeff@inspectionsplusinc.com