September 15, 2014

Fred C. Arfman, PE

Isaacson & Arfman, PA

128 Monroe St NE

Albuquerque, NM 87108

Re:	Main Bank

Menaul/Prospect

Conceptual G&D plan (H19D055A)

Dear Mr. Arfman,

Based on the conceptual G&D received on 9/27/2014, I found it not acceptable for submittal to the DRB for site plan for building permit. Address the following comments for this approval.

- Show the inlets and storm drain from Prospect Ave to Mesilla Ave.

- Show the manhole in Mesilla Ave.

- An emergency opening should be provided in the CMU wall at the end of Prospect Ave.

When submitting for building permit review, provide a comment pertaining to the awareness of the first flush and so much for water harvesting. Also, I noticed that curb openings are not shown for the first flush.

Note, this review was for Site plan for Building Permit for the DRB, a more detailed review will be accomplished for Building permit according to the DPM.

If you have any questions, you can contact me at 924-3986 or Rudy Rael at 924-3977.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Review Services

RR/CC

C:	email