November 17, 2014

Fred Arfman, P.E.

128 Monroe St NE

Albuquerque, NM 87108

**Re: Main Bank Conceptual Grading and Drainage Plan**

**Engineer’s Stamp Date –no stamp- (H19D055A)**

Dear Mr. Arfman,

 Based upon the information provided in your submittal received 11-14-14, the above referenced plan is approved for Site Plan for Building Permit action by the DRB with the following condition: the area between the sidewalk culvert/walk-dip section and the inlet will be concrete and included in the DRC construction plans.

If you have any questions, you can contact me at 924-3986.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Hydrology

 Planning Dept.

C: e-mail