## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | H20E003E |  | Project Name: |  | Starbucks Albuquerque
NPDES Id. No. | NMR10055D |  | Location: |  | 2004 Wyoming Blvd NE
2023-12-14 |  | Owner |  |  |  | Contractor
Operator |  | WFC Wyoming NM LLC
Contact name & title |  | Renaldo Gallagher
e-mail |  | rgallagher@westfin.com
Contact Phone # |  | 770-344-8962
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 1pm |  |  |  | Rain
Construction Phase: |  | Pre-construction, ESC Plan Approved | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Cloudy |  | Temperature: ~ |  |  | 45 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2023-12-14 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | SWPPP - The SWPPP and self-inspection reports were unavailable at the site during the inspection in violation of CGP Parts 4.7.3 and 7.3. Inspections Plus sent SWPPP amendments after this inspection and were reviewed. The review found the following that will be required in the SWPPP. Ensure that all operators (owner, contractor) certify the SWPPP. A Delegation of Authority to certify SWPPP, SWPPP modifications, corrective actions, and inspection reports cannot be assigned to a third party. The DoA is usually given to the superintendent of the construction site. Ensure the SWPPP is modified when a contractor is chosen for day-to-day operations (Areas of control, stormwater team, NOI, etc.). The SWPPP Map needs to be amended to show the current location of the construction exit. Required mitigation: You must keep a current copy of your SWPPP and self-inspection reports at the site or at an easily accessible location so that they can be made available at the time of an on-site inspection per CGP Parts 4.7.3 and 7.3. Ensure the Delegation of Authority meets the requirements listed in CGP Appendix G Part G.11 and the EPA's Frequent Questions attachment.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Yes | Latest report Date: |  | 2023-12-15
Notes:
Prior NOV for Posting, SWPPP, BMPs - all missing
Received today's self-inspection, will need to be signed by the operators
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action