March 31, 2016

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: Indian Ridge Townhomes**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 3-24-16 (H22E078)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 3-24-16 the above referenced plan is approved to be included in the SWPPP and for ESC Permit for grading and Building Permit with the condition:

A mulch sock or alternative acceptable sediment BMP be installed along the west property line.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email, Jeff@inspectionsplus.com