August 3, 2012

Ronald R. Bohannan, P.E.

Tierra West, LLC.

5571 Midway Park Place NE

Albuquerque, NM 87109

Re:	Bruckner Truck Sales, Inc., Drainage Report and Grading Plan

Engineer’s Stamp dated: 7/19/12 (J09/D021)

Dear Mr. Bohannan;

Based upon the information in your submittal received 7-19-12, the above referenced plan is approved for Site Plan for Building Permit.  The following comments have to be addressed prior to Building Permit approval:

- Include inlet capacity calculations.

- Provide street flow capacity analysis and inlet capacity analysis for Daytona Rd.

- Please provide erosion and scour analysis passed the enclosed riprap for the channel.  Would scour wall be required at the end of the riprap?

- What is the status of plugging the 48” storm drain pipe on the north side of the I-40?

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Hydrology

Planning Department

Copy: e-mail