October 25, 2012

Ronald R. Bohannan, P.E.

Tierra West, LLC.

5571 Midway Park Place NE

Albuquerque, NM 87109

Re:	Bruckner Truck Sales, Inc., Drainage Report and Grading Plan

Engineer’s Stamp dated: 9/20/12 (J09/D021)

Dear Mr. Bohannan;

Based upon the information in your submittal received 9-27-12 and additional calculations via e-mail 10/23/2013, the above referenced plan is approved for Building Permit.

A separate Work Order permit is required for construction within City ROW. This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit (http://www.cabq.gov/planning/landcoord/Hydrology.html).

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail