June 29, 2015

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: WAHL Stockpile Removal and Drainage Improvements**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 6-16-15 (J09E023)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 6-17-15, the above referenced plan is approved to be included in the SWPPP and for Grading Permit once the grading plan is approved by Hydrology.

You may wish to consider adding a sedimentation pond at the downstream end of the project to aid in the removal of sediment prior to entering the AMAFCA facility.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email, Jeff@inpsectionsplus.com