March 7, 2019

Ron Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Pl NE

Albuquerque, NM 87109

**Re: Brunacini Warehouse**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 2-5-19 (J10E002G)**

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 3-1-19, the above referenced plan is approved to be included in the SWPPP and for NOI documentation review for grading and Building Permit with the following note:

A sediment BMP may be required at the entrance(s) on Gallatin Pl where the proposed disturbed area is near/at the street.

Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email