May 20, 2015

Graeme Means, P.E.

High Mesa Consulting Group

6010-B Midway Park Blvd NE

Albuquerque, NM 87109

**Re: West Mesa High School Classroom Bldg**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 4-16-15 (J10E005)**

Dear Mr. Means,

Based upon the information provided in your submittal received 4-16-15 the above referenced plan is acceptable to be included in the SWPPP and for Grading Permit/Building Permit once the grading plan is approved by Hydrology with the condition that inlet protection is provided for the inlet approximately 60 feet northeast of proposed Building B.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email