January 3, 2014

Michael David Tull, P.E.

Richard J. Berry, Mayor

Superior Stormwater Services, LLC

8505 Paseo Alameda

Albuquerque, New Mexico  87113

RE:	Glenrio Apartments,						File #	J10/E043

Town of Atrisco Grant, APU #8, Tracts 223 & 224

Erosion and Sediment Control Plan			PE Stamp: 12/27/13

Dear Mr. Tull:

Based upon the information provided in your submittal received 12/30/2013, the above referenced plan cannot be approved for Building Permit, until the following issues have been addressed on this Erosion & Sediment Control (ESC) plan.

- The vicinity map should include reference to City Zone Atlas Map No. J-10.

- Provide a detail sheet for applicable BMP’s as part of this sealed submittal, not just as reference to the SWPPP.

- Locate and detail/dimension the Construction Entrance(s) on the ESC plan (50-ft minimum length).

- Identify and dimension the Sediment Pond(s) required for ESC, and provide BMP’s for the pond outfall locations to ensure sediment control during construction.

- Clarify the limits of “Perimeter BMP’s and applicable details.  This plan appears to not have any perimeter sediment control on the southern boundary of the site.

If you have questions, please contact me at grolson@cabq.gov or phone (505) 924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  C20-D069

c.pdf	Addressee via Email:  David@SuperiorStormwater.com

Zach Hulme via Email: Zach@DPSdesign.org