## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | J10E049 |  | Project Name: |  | Coors/Bluewater (San Roque/La Serena)
NPDES Id. No. | NMR10058F |  | Location: |  | 457 Coors Blvd NW
2024-04-26 |  | Owner |  |  |  | Contractor
Operator |  | Thomas Development |  |  |  | HB Construction
Contact name & title |  | Thomas Mannschreck |  |  |  | Jacob Tonks
e-mail |  | tmannschreck@thomasdevelopment.com |  |  |  | jacobt@hbconstruction.com
Contact Phone # |  | 208-343-8877 |  |  |  | 505-549-2189
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 1pm |  |  |  | Rain
Construction Phase: |  | verticals, utilities | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 70 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2024-04-01 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | SWPPP - The SWPPP was not up-to-date. The property owner's NOI was not included in the SWPPP in violation of CGP Part 7.2.11. The owner's signatory has not signed the certification for the SWPPP in violation of CGP Part 7.2.10. The self inspection reports were available electronically, but they were not signed by the operators or their authorized representative in violation of CGP Part 4.7.2. The Stormwater Team was not identified by name with contact information in violation of CGP Part 7.2.2. Required mitigation: You must include a copy of your NOI submitted to the EPA along with any correspondance between you and EPA related to coverage under the CGP per CGP Part 7.2.11. Your signatory must sign and date your SWPPP in accordance with CGP Appendix G, Part G.11 per CGP Part 7.2.10. Each inspection report must be signed by the operator's signatory in accorance with Appendix G, Part G.11 of the CGP per CGP Part 4.7.2. As per CGP Part 7.2.2, you must identify by name and position the stormwater team member for each of six (6) responsibilities. You must list the personnel responsible for : 1. Design of stormwater controls (PE or CPESC) as required in Part 9.6.1. C.iii. 2. installation of stormwater controls. 3. maintenance, and/or repair of stormwater controls. 4. the application and storage of treatment chemicals (if applicable) 5. conducting inspections as required in Part 4.1 6. taking corrective actions as required in Part 5
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Yes | Latest report Date: |  | 2024-04-03
Notes:
Please ensure that the SWPPP is up-to-date and that your BMPs are maintained.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action