|  | Date: 05/06/2020 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Bosque Antigua |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Post the NOI | 11/01/18 |  | 11/30/18 |
| 2 | Install a rain gauge | 11/01/18 |  | 11/30/18 |
| 3 | Sweep at the entrance of the site for minor off site tracking | 11/14/18 |  | 11/30/18 |
| 4 | No new issues at the time of this inspection | 11/30/18 |  | 11/30/18 |
| 5 | No new issues at the time of this inspection | 12/14/18 |  | 12/14/18 |
| 6 | The site looked good. | 01/04/19 |  | 01/04/19 |
| 7 | No new issues at the time of this inspection | 01/18/19 |  | 01/18/19 |
| 8 | No construction activity | 02/01/19 |  | 02/01/19 |
| 9 | No new issues at the time of this inspection | 02/15/19 |  | 02/15/19 |
| 10 | Repair the silt fence approx. 30' at the entrance of the site | 03/01/19 |  | 06/07/19 |
| 11 | No new issues at the time of this inspection | 03/15/19 |  | 03/15/19 |
| 12 | No new issues at the time of this inspection | 03/29/19 |  | 03/29/19 |
| 13 | No work is being performed and temporary ground stabilization is required after 14 days of no work | 04/12/19 |  | Resumed 06/07/19 |
| 14 | No new issues at the time of this inspection | 04/26/19 |  | 04/26/19 |
| 15 | Repair the silt fence approx. 30' at the entrance of the site | 05/10/19 |  | 06/07/19 |
| 16 | No new issues at the time of this inspection | 05/24/19 |  | 05/24/19 |
| 17 | The site looked good. No new issues at the time of this inspection | 06/07/19 |  | 06/07/19 |
| 18 | No new issues at the time of this inspection | 06/21/19 |  | 06/21/19 |
| 19 | Ensure all inspection reports have been signed by an Authorized Representative with Las Ventanas LLC | 07/08/19 |  |  |
| 20 | No new issues at the time of this inspection | 07/19/19 |  | 07/19/19 |
| 21 | No new issues at the time of this inspection | 08/02/19 |  | 08/02/19 |
| 22 | Fluff the rock pad entrance or add more rock at the entrance of the site | 08/19/19 |  | Paved |
| 23 | Re-post the NOI and rain gauge | 08/19/19 |  | 12/31/19 |
| 24 | No new issues at the time of this inspection. Address previous issues | 09/04/19 |  | 09/04/19 |
| 25 | Empty the concrete washout | 09/17/19 |  | 10/03/19 |
| 26 | No new issues at the time of this inspection. Address previous issues | 10/03/19 |  | 10/03/19 |
| 27 | Clean up all the concrete washed out in the ground and use the washout cotainer | 10/21/19 |  | 12/31/19 |
| 28 | Renove all trash in 3204 Maxum | 11/05/19 |  | 11/20/19 |
| 29 | No new issues at the time of inspection | 11/20/19 |  | 11/20/19 |
| 30 | No issues | 12/03/2019 |  | 12/03/2019 |
| 31 | Sweep on Maxum Ln. where it is needed | 12/17/19 |  | 12/31/19 |
| 32 | No new issues at the time of inspection | 12/31/19 |  | 12/31/19 |
| 33 | The site looked good. No new issues at the time of this inspection | 01/14/20 |  | 01/14/20 |
| 34 | Pick up the concrete washed out and put it in the concrete washout container | 01/28/20 |  | 02/11/20 |
| 35 | No new issues at the time of inspection | 02/11/20 |  | 02/11/20 |
| 36 | Silt fence at the East side of the site needs to be repaired. | 02/25/20 |  |  |
| 37 | Empty the concrete washout | 03/10/20 |  | 03/24/20 |
| 38 | No new issues at the time of inspection | 03/24/20 |  | 03/24/20 |
| 39 | No new issues at the time of inspection | 04/07/20 |  | 04/07/20 |
| 40 | Cleanup the concrete washed out in 3313 Maxum | 04/22/20 |  | 05/06/20 |
| 41 | No new issues at the time of inspection | 05/06/20 |  | 05/06/20 |
| SWPPP Management Signature: Date: |  |  |  |  |