December 2, 2011

Genevieve L. Donart, P.E.

Isaacson and Arfman, P.A.

128 Monroe NE

Albuquerque, NM  87108

Re:	Country Club Place, 1816 Central Ave SW, (J13/D011),

Permanent Certificate of Occupancy  - Approved

Approved Engineer’s Stamp date: 4/5/11,

Certification dated: 12-1-11

Dear Ms. Donart,

Based upon the information provided in the submittal received 12-1-11, the above referenced Certification is approved for release of Permanent Certificate of Occupancy by Hydrology.

When submitting for Permanent CO for the West Building, Market Fresh, the following items are to be addressed:

- The drainage addressed in Certification Note 2 is to drain south or an easement and capacity analysis to drain west/not per plan is required.

- Keyed Note 13 is to be changed to what is built or the trench drain is to be built.

- The sidewalk culvert on San Pasquale is to be constructed.

If you have any questions, you can contact me at 924-3982.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Hydrology

Development and Building Services

Copy:  file

CO Clerk—Katrina Sigala