July 26, 2012

David Soule, P.E.

Rio Grande Engineering

P.O. Box 93924

Albuquerque, NM 87199

Re:	Rights Carlton Apartments Grading and Drainage Plan

Engineer’s Stamp date 06-29-2012 (J-13/D094)

Dear Mr. Soule,

Based upon the information provided in your submittal received 06-29-2012, the above referenced plan cannot be approved for Building and Grading Permit until the following comments are addressed:

- Plan should indicate if the garage stem wall will extend above the existing grades.

- Add a note on the sidewalk culvert specifying that all bolts on the plate will be tack welded.

- The legend should include descriptions of all symbols present on the drainage plan.

- What is the city benchmark designation being used on the plan?

- Provide spot elevations along the sidewalk as well as top-of-curb and back-of-curb elevations.

- How much runoff is proposed to enter the landscaping area along 10th Street? An additional culvert might be needed to drain this flow into the street.

- Does the roof overhang the eastern property line into the adjacent lot?

- Provide detail on the plan of the proposed 9” depressed landscaping area and its location on the site.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	Email