July 23, 2012

Guy C. Jackson, P.E.

Guy Jackson & Associates, LLC

10522 Florence Ave. NE

Albuquerque, NM  87122

Re:	Lots 2-A, 2-B, 2-C, & 2-D Lands of Della Sanchez Grading and Drainage Plan, 230 Tohatchi Trail NW, Engineer’s Stamp dated 07-23-2012 (J13D095)

Dear Mr. Jackson,

Based upon the information provided in your submittal received 07-23-2012, the above referenced plan is approved for Preliminary/Final Plat Approval. This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge as well as a Topsoil Disturbance Permit.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit.  The permit is available online at

http://www.cabq.gov/planning/landcoord/documents/EPA-NMS000101-FinalPermit.pdf

Individual Grading and Drainage Plans will be required for each lot prior to Building Permit Approval. If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	email