July 18, 2012.

Guy C. Jackson, P.E.

Guy Jackson & Associates, LLC

10522 Florence Ave. NE

Albuquerque, NM  87122

Re:	Lots 2-A, 2-B, 2-C, & 2-D Lands of Della Sanchez Grading and Drainage Plan, 230 Tohatchi Trail NW, Engineer’s Stamp dated 06-08-11 (J13D095)

Dear Mr. Jackson,

Based upon the information provided in your submittal dated 7-12-2012, the above referenced grading and drainage plan cannot be approved for Preliminary Plat Approval until the following comments are addressed:

- Please quantify any offsite flows entering the proposed drainage basins. It appears that flows may enter the property from Tracts A&B, Lot 1, Lot 7 as well as Lots 8-A and 9-A. Provide additional spot elevations in these areas.

- Include the existing and proposed contour labels in the legend.

- Top of curb, flow lines and proposed spot elevations are not visible on the plan. Please enlarge the text size.

- Add the Legal description on the plan.

- Show elevations for the existing contours.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	email