May 16, 2014

Richard J. Berry, Mayor

Genevieve Donart,  P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, New Mexico  87108

RE:	614 First Street Parking Lot Improvements			File:   J14-D016

Grading & Drainage Plan for Grading and Paving Permit, and SO-19

PE Stamp: 5-1-2014

Dear Ms Donart:

Based upon the information provided in your submittal received 5/5/14, the subject Grading and Drainage Plan is approved for Grading Permit, Paving Permit, and SO-19.

A separate Excavation/Barricading Permit is required for the SO-19 construction within City ROW.  A copy of this approval letter must be on hand when applying for the permit.  The private storm drain work in the City ROW must be inspected and approved by Storm Drain Maintenance.  Please contact Jason Rodriguez, 857-8074, to schedule an inspection.

Following completion of the work, please provide an Engineer’s Certification of Grading of the site to the Hydrology Section.

Hydrology is asking for an electronic copy of this signed plan in .pdf format, for our records.  This plan can be e-mailed to Tim Sims at: TSims@cabq.gov .

If you have questions, please email me or telephone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Development and Building Services

Orig:	Drainage file:  J14/D016

c.pdf	Addressee via Email  GennyD@IAcivil.com

eCopy:	Antoinette Baldonado, Excavation and Barricading, ABaldonado@cabq.gov

Jason Rodriguez, Street/Storm Drain Maintenance,  JTRodriguez@cabq.gov