January 20, 2012

Scott M. McGee, P.E.

9700 Tanoan Dr NE

Albuquerque, NM 87111

Re:	Eighth Street Townhomes, Eighth and Roma, Grading and Drainage Plan

Engineer Stamp Date 12-29-11 (J14/D170)

Dear Mr. McGee,

Based upon the information provided in the submittal received 1-3-11, the above referenced plan has been approved by the DRB for platting action.  Therefore, it is approved for Grading Permit and Building Permit.  Please attach a copy of this approved plan to the Building Permit sets prior to sign-off by Hydrology.

A separate permit (SO 19) is required for construction within City ROW for the building the drain line through the curb.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.

Prior to Certificate of Occupancy release:

- Engineer Certification per the DPM checklist will be required.

- The drain line through the curb must be inspected and accepted.  Please contact Martin Pacheco, 235-8016, to schedule an inspection.

- For Lot B-1-A-1, the water harvesting area and drain line must be built and the drain line inspected.

- For Lot B-1-A-2, the water harvesting area in Lots B-1-A-1 and B-1-A-2 and the drain lines to Eighth St. must be built.

- For Lot B-1-A-3, the water harvesting area in Lots B-1-A-1, B-1-A-2 and B-1-A-3 and the drain lines to Eighth St. must be built.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Hydrology

Development and Building Services

Copy:  e-mail

Martin Pacheco, Street/Storm Drain Maintenance

Antoinette Baldonado, Excavation and Barricading