December 18, 2012

J. Graeme Means, P.E.

High Mesa Consulting Group

6010-B Midway Park Blvd NE

Albuquerque, NM 87109

Re:	ABQ Healthcare for the Homeless Grading Plan, 1220 1st St.                       Engineer’s Stamp dated 12-12-2012 (J-14/D172)

Dear Mr. Means,

Based upon the information provided in your submittal dated 12-13-2012, the above referenced plan is approved for Grading Permit. Prior to the future Building Permit approval please address the following comments:

- Is the access easement along the northern property edge a drainage easement as well?

- It appears that flows will cross the property line along the southern boundary at the building pad. Please clarify how these flows will be directed.

- Runoff volumes for this site will be required to be limited to 2.75 cfs/acre for future development.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	email