March 28, 2014

David Soule, P.E.

Rio Grande Engineering

P.O. Box 93924

Albuquerque, NM 87199

Re:	Winrock Redevelopment Dave and Busters

Erosion Sediment Control ( ESC) Plan

Engineer’s Stamp Date 2/11/2014 (J19/E038)

Dear Mr. Soule,

Based upon your submittal received 2-19-14, the above referenced Erosion Sediment Control (ESC) plan is not acceptable based on the following comments:

- An approved Grading and Drainage plan is required.  Make all changes necessary to the ESC plan based on the approved Grading and Drainage plan.

- Provide scale of the drawing.

- Change the title of the plan to “Erosion and Sediment Control Plan”.

- Show the NPDES Posting Board location.  The board should be visible from public sidewalk or street.

- Provide a detail sheet for the BMPs.

- Remove all unnecessary notes and titles, and only show the necessary notes for the  ESC plan.

If you have any questions, you can contact me at 924-3422.

Sincerely,

Shahab Biazar, P.E.

Principal Engineer Planning Dept.

Development Review Services

C:	e-mail