|  | Date: 08/14/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Maverick Gas Station on Wyoming & Constitution |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Install a rain gauge | 07/10/19 |  | 07/24/19 |
| 2 | Ensure there is a spill kit | 07/10/19 |  | 07/24/19 |
| 3 | Repair and replace the silt fence at the East and West sides of the site | 07/10/19 |  | 07/17/19 |
| 4 | No new issues at the time of this inspection | 07/17/19 |  | 07/17/19 |
| 5 | No new issues at the time of this inspection | 07/24/19 |  | 07/24/19 |
| 6 | Have an authorized representative from Insight Construction Sign the Certification and Delegation Letter in the SWPPP Book | 07/31/19 |  |  |
| 7 | Clean up the concrete washed out next to the concrete washout pit | 08/07/19 |  | 08/14/19 |
| 8 | Install 10' of Mulch Sock where it is missing on the west side of the site | 08/14/19 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |