|  | Date: 07/10/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Maverick Gas Station on Wyoming & Constitution |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Install a rain gauge | 07/10/19 |  |  |
| 2 | Ensure there is a spill kit | 07/10/19 |  |  |
| 3 | Repair and replace the silt fence at the East and West sides of the site | 07/10/19 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |