|  | Date: 01/16/20 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Winrock Town Center Phase B Road B |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | No construction activity at the time of this inspection. No issues at this time | 07/17/19 |  | 07/17/19 |
| 2 | Stabilized Contruction Entrance | 07/26/19 |  | 08/15/19 |
| 3 | Perimeter Controls- Mulch Sock at base of Construction Fence | 07/26/19 |  | 09/05/19 |
| 4 | Construction Waste placed in Appropriate Container | 07/26/19 |  | 08/08/19 |
| 5 | Spoils Pile Protection | 07/26/19 |  | 11/21/19 |
| 6 | Sweep at the Southeast entrance for off site tracking | 08/01/19 |  | 08/15/19 |
| 7 | No new issues at the time of this inspection. Address previous issues | 08/08/19 |  | 08/08/19 |
| 8 | Clean up the concrete washed out on the Southwest side of the site | 08/15/19 |  | 09/05/19 |
| 9 | Sweep at entrances for off site tracking | 08/22/2019 |  | 08/29/19 |
| 10 | Perimeter Controls- Mulch Sock at base of Construction Fence per ESCP (erosion and sediment control plan) | 08/29/19 |  | 09/05/19 |
| 11 | No new issues at the time of inspection | 09/05/19 |  | 09/05/19 |
| 12 | The trash bin on the west side of the site needs to be emptied | 09/12/19 |  | 09/20/19 |
| 13 | Remove the blow away trash at the East and West sides of the site. | 09/12/19 |  | 09/20/19 |
| 19 | No new issues at the time of inspection | 09/20/19 |  | 09/20/19 |
| 20 | Clean up the concrete washed out mess from the stucco guys at the NW side of the building. | 09/26/19 |  | 10/14/19 |
| 21 | The trash bins needs to be emptied | 10/14/19 |  | 11/07/19 |
| 22 | No new issues at the time of inspection | 10/24/19 |  | 10/24/19 |
| 23 | Clean up the concrete washed out at the northeast side next to the washout bin. | 11/07/19 |  | 11/21/19 |
| 24 | Empty the concrete washout located near the entrance of the site | 11/21/19 |  | 12/19/19 |
| 25 | Sweep Parking Lot, Install Track Out on east side of project, Install Mulch Socks on West side of project | 12/05/19 |  | 12/19/19 |
| 26 | Concrete washout and Dumpster need to be emptied | 12/19/19 |  | 01/16/20 |
| 27 | No new issues at the time of this inspection. Address previous issues | 01/03/20 |  | 01/03/20 |
| 28 | The trash bin needs to be emptied again. | 01/16/20 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |