|  | Date: 08/08/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Winrock Town Center Phase B Road B |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | No construction activity at the time of this inspection. No issues at this time | 07/17/19 |  | 07/17/19 |
| 2 | Stabilized Contruction Entrance | 07/26/19 |  |  |
| 3 | Perimeter Controls- Mulch Sock at base of Construction Fence | 07/26/19 |  |  |
| 4 | Construction Waste placed in Appropriate Container | 07/26/19 |  | 08/08/19 |
| 5 | Spoils Pile Protection | 07/26/19 |  |  |
| 6 | Sweep at the Southeast entrance for off site tracking | 08/01/19 |  |  |
| 7 | No new issues at the time of this inspection. Address previous issues | 08/08/19 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |