March 11, 2016

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: Winrock Phase A Ring Road Improvements**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 3-9-16 (J19E058C)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 3-9-16 the above referenced plan is approved to be included in the Work Order construction plans with the following condition:

An appropriate BMP is used when the contractor is trenching/installing the storm drain in Street D north of the paved area shown on the construction plans.

 If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email, Jeff@inspectionsplus.com