June 9, 2016

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: Alice King Community School Renovation, 1800 Mountain Rd NE**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 4-22-16 (J19E085)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 5-26-16 the above referenced plan is approved to help reduce erosion and sediment deposition in the City ROW/MS4.

As you are aware, the project is less than one acre and is not part of a larger common plan of development so therefore does not require a SWPPP or ESC Permit.

Even though not required, it may be beneficial to include a copy of the approved plan in the building permit set.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email